## protection password (hidden)
PASSWORD: hahaha123
hi! this excel was made full heartedly w the best of my dying braincells for my steel design (steel 2) subject under engr ma'am ginez. I have a silly little ms excel side project going on and as part of my improvement, I am making this file free for access, use, and open to revisions and criticisms. this file can also be used for concrete frames, just read and follow the notes in every worksheet. if u have queries or violent reactions; need pdf,xlsx files; software programs; want to collaborate, just let me knowww. :3
Contact me:
preciousmaryangelicavbarcena@gmail.com
References:
National Structural Code of the Philippines 2015
Engr. K. Ginez
YT: DeanZano Civil Engineering Lectures
YT: AEDO ENGINEERING
YT: John Paul Dela Rosa
YT: Ej Clemente
Special thanks to:
mama ko
chat gpt
excel groups in fb

## DO NOT DELETE (hidden)
MINIMUM DESIGN DEAD LOADS (table 204-2)
CONCRETE MASONRY UNITS
COMPONENT | LOAD (kPa) | CONCRETE MASONRY UNITS |  |  |  | UNIT WEIGHT | GROUT SPACING | WYTHE THICKNESS |  |  | Unit weight | 16.5
acoustical fiber board | 0.05 | Hollow concrete masonry units unplastered. Add 0.24 kPa for each face plastered. | [5 empty] | 100 | 150 | 200 | wythe thickness | 150
gypsum board (per mm) | 0.008 |  |  |  |  | 16.5 | No grout | 1.05 | 1.15 | 1.48 | grout spacing | Full
mechanical duct allowance | 0.2 | grout spacing | wythe thickness (mm) |  |  | 16.5 | 800 | 1.4 | 1.53 | 2.01
plaster on tile or concrete | 0.24 |  | 100 | 150 | 200 | 16.5 | 600 | 1.5 | 1.63 | 2.2 | load (kpa) | 2.63
plaster on wood lath | 0.38 | 16.5 KN/m^3 |  |  |  | 16.5 | 400 | 1.79 | 1.92 | 2.54
suspended steel channel system | 0.1 | No grout | 1.05 | 1.15 | 1.48 | 16.5 | Full | 2.5 | 2.63 | 3.59
suspended metal lath and cement plaster | 0.72 | 800 | 1.4 | 1.53 | 2.01 | 19.6 | No grout | 1.24 | 1.34 | 1.72
suspended metal lath and gypsum plaster | 0.48 | 600 | 1.5 | 1.63 | 2.2 | 19.6 | 800 | 1.59 | 1.72 | 2.25
wood furring suspension system | 0.12 | 400 | 1.79 | 1.92 | 2.54 | 19.6 | 600 | 1.9 | 1.87 | 2.44
asphalt shingles | 0.1 | full | 2.5 | 2.63 | 3.59 | 19.6 | 400 | 1.98 | 2.11 | 2.82
cement tile | 0.77 | 19.6 KN/m^3 |  |  |  | 19.6 | Full | 2.69 | 2.82 | 3.88
clay book tile, 50mm (for mortar add 0.48 kPa) | 0.57 | No grout | 1.24 | 1.34 | 1.72 | 21.2 | No grout | 1.39 | 1.44 | 1.87
clay book tile, 75mm (for mortar add 0.48 kPa) | 0.96 | 800 | 1.59 | 1.72 | 2.25 | 21.2 | 800 | 1.47 | 1.82 | 2.39
ludowici clay tile (for mortar add 0.48 kPa) | 0.48 | 600 | 1.9 | 1.87 | 2.44 | 21.2 | 600 | 1.83 | 1.96 | 2.59
roman clay tile (for mortar add 0.48 kPa) | 0.57 | 400 | 1.98 | 2.11 | 2.82 | 21.2 | 400 | 2.13 | 2.2 | 2.92
spanish clay tile (for mortar add 0.48 kPa) | 0.91 | full | 2.69 | 2.82 | 3.88 | 21.2 | Full | 2.84 | 2.97 | 3.97
three-ply ready roofing | 0.05 | 21.2 KN/m^3
four-ply felt and gravel | 0.26 | No grout | 1.39 | 1.44 | 1.87
five-ply felyt and gravel | 0.29 | 800 | 1.47 | 1.82 | 2.39
copper or tin | 0.05 | 600 | 1.83 | 1.96 | 2.59
corrugated asbestos-cement roofing | 0.19 | 400 | 2.13 | 2.2 | 2.92
deck, metal 20 gage | 0.12 | full | 2.84 | 2.97 | 3.97
deck, metal 18 gage | 0.14
fiberboard, 13mm | 0.04
gypsum sheating, 13mm | 0.1
cellular glass insulation roof board (per mm) | 0.00013
fibrous glass insulation roof board (per mm) | 0.0021
fiberboard insulation roof board (per mm) | 0.0028
perlite insulation roof board (per mm) | 0.0015
polystyrene foam insulation roof board (per mm) | 0.0004
urethane foam insulation roof board with skin (per mm) | 0.0009
plywood (per mm) | 0.006
rigid insulation | 0.01
skylight, metak frame, 10mm wire glass | 0.38
slate, 5mm | 0.34
slate, 6mm | 0.48
bituminous, gravel-covered waterproofing membrane | 0.26
bituminous, smooth surface waterproofing membrane | 0.07
liquid, applied waterproofing membrane | 0.05
single-ply, sheet waterproofing membrane | 0.03
wood sheating (per mm) | 0.0057
wood shingles | 0.14
Cinder concrete fill (per mm) | 0.017
Lightweight concrete fill (per mm) | 0.015
sand fill (per mm) | 0.015
stone concrete fill (per mm) | 0.023
Asphalt block (50mm), 13mm mortar | 1.44
Cement finish (25mm) on stone-concrete fill | 1.53
Ceramic or quarry tile (20mm) on 13mm mortar bed | 0.77
Ceramic or quarry tile (20mm) on 25mm mortar bed | 1.1
Concrete fill finish | 0.023
Hardwood flooring, 22mm | 0.19
Linoleum or asphalt tile, 6mm | 0.05
Marble and mortar on stone-concrete fill | 1.58
Slate | 0.028
Solid flat tile on 25-mm mortar base | 1.1
subflooring, 19mm | 0.14
Terrazzo (38mm) directly on slab | 0.91
Terrazzo (25mm) on stone-concrete fill | 1.53
Terrazzo (25mm) on 50-mm stone concrete | 1.53
Wood block (75mm) on mastic, no fil | 0.48
Wood block (75mm) on 13-mm mortar base | 0.77
movable partitions | 0.24
movable partitions (steel) | 0.19
wood or steel studs, 13mm gypsum board each side | 0.38
wood studs, 50x100, unplastered | 0.19
wood studs, 50x100, plastered one side | 0.57
wood studs, 50x100, plastered two side | 0.96
Exterior stud walls 50x100 @ 400mm, 15mm gypsum, insulated, 10mm siding | 0.53
Exterior stud walls 50x150 @ 400mm, 15mm gypsum, insulated, 10mm siding | 0.57
Exterior stud wall with brick veneer | 2.3
Window, glass, frame and sash | 0.38
100 mm clay brick wythes | 1.87
200 mm clay brick wythes | 3.74
300 mm clay brick wythes | 5.51
400 mm clay brick wythes | 7.48

## nscp snips
DEAD LOADS
LIVE LOADS
SPECIAL LOADS
BASIC WIND SPEED
OCCUPANCY CATEGORY
EXPOSURE
WIND LOAD PRESSURE (C&C)
TOPOGRAPHIC FACTOR
ADJUSTMENT
FACTOR
pnet9
zones
MEAN ROOF HEIGHT
LOAD COMBINATIONS
Na Nv Ca Cv
IMPORTANCE FACTOR
RESPONSE MODIFICATION FACTOR, R
SOIL PROFILE TYPE

## EQ
EARTHQUAKE LOADS
NOTE!!!: | SEISMIC DEFINITION AND SEISMIC LOADS MUST BE DEFINED FIRST BEFORE DEAD LOAD, LIVE LOAD, AND WIND LOADS!!!
SEISMIC DEFINITION
SEISMIC PARAMETERS
|  |  | TYPE | UBC 1997
|  |  | Parameter | Value
|  |  | Zone | 0.4
|  |  | Importance factor (I) | 1
|  |  | Rw in X Direction (RWX) | 8
|  |  | Rw in Z Direction (RWZ) | 8
|  |  | Soil Profile Type (STYP) | 4 | (SA=1, SB=2, SC=3, SD=4 …)
|  |  | Near Source Factor Na (Na) | lam mo na yan par
|  |  | Near Source Factor Nv (Nv) | lam mo na yan par
|  |  | * CT Value (CT) | 0.0853
|  |  | * Period in X Direction (PX) | --automated by staad
|  |  | * Period in Z Direction (PZ) | --automated by staad
LOAD CASES DETAIL
EQPX
FACTOR & DIRECTION
|  |  |  | FACTOR | 1
|  |  |  | ACCIDENTAL TORSION | 0.05
|  |  |  | NATURAL TORSION | 1
EQNX
FACTOR & DIRECTION
|  |  |  | FACTOR | -1
|  |  |  | ACCIDENTAL TORSION | 0.05
|  |  |  | NATURAL TORSION | 1
EQPZ
FACTOR & DIRECTION
|  |  |  | FACTOR | 1
|  |  |  | ACCIDENTAL TORSION | 0.05
|  |  |  | NATURAL TORSION | 1
EQNZ
FACTOR & DIRECTION
|  |  |  | FACTOR | -1
|  |  |  | ACCIDENTAL TORSION | 0.05
|  |  |  | NATURAL TORSION | 1

## DL-->
DEAD LOADS
stair | KN/m | add as member load on beam
slabs - cantilever | KN/m | add as member load on beam
slabs - suspended | KPa | add as floor load
slabs - on grade |  | may be neglected (acc to YT: DeanZano Civil Engineering Lectures)
walls - on beam | KN/m | add as member load on beam
walls - on slab | KPa | add as floor load
service dead loads | KPa | add as floor load

## stair,slab,wall DL
STAIR, SLAB, WALL SELFWEIGHT
STAIR |  |  | VOLUME | SELFWEIGHT (KN) | INPUT TO STAAD
specific weight | 23.544 | KN/m^3 | 1.2038 | 28.3411 | wt of stair = | 0.028341 | KN/m | (add as member load)
width | 1000 | mm
steps | 20 | steps
rise | 187.5 | mm
tread | 250 | mm
slab thickness | 100 | mm
landing | 1100 | mm
SLAB |  |  | FLOOR PRESSURE | UNIFORM DL | INPUT TO STAAD
specific weight | 23.544 | KN/m^3 | 2.3544 | 0.0035316 | wt of slab = | 0.0035316 | KN/m | (for one-way or cantilever, add as member load)
thickness | 100 | mm |  |  | wt of slab = | 2.3544 | KPa | (for any slab, add as floor load)
tributary width | 1.5 | mm
CHB WALL |  |  | WEIGHT OF WALL | AREA OF SLAB | INPUT TO STAAD
Unit weight | 16.5 |  | 38.74 | 8 | wt of wall = | 4.8425 | KPa | (for walls not on beam, add as floor load)
wythe thickness | 100 |  |  |  | wt of wall = | 7.748 | KN/m | (for walls on beam, add as member load)
grout spacing | Full
load (kpa) | 2.5 | KPa
plaster | 0.48 | KPa
wall length | 5000 | mm
wall height | 2600 | mm
slab length | 4000 | mm
slab width | 2000 | mm

## floor DL
ADDITIONAL FLOOR LOADS
loads from NSCP Table 204-2 (concrete masonry units not included) | (kPa) | (for components w "per mm" only) | (for mortar, kPa) | (INPUT IN STAAD as FLOOR LOAD)
COMPONENT | LOADING | THICKNESS | ADDITIONAL | TOTAL
mechanical duct allowance | 0.2 | 1 | 0 | 0.2
Ceramic or quarry tile (20mm) on 25mm mortar bed | 1.1 | 1 | 0 | 1.1
three-ply ready roofing | 0.05 | 1 | 0 | 0.05
polystyrene foam insulation roof board (per mm) | 0.0004 | specify thickness | 0 | #VALUE!
Ceramic or quarry tile (20mm) on 25mm mortar bed | 1.1 | 1 | 0 | 1.1
movable partitions | 0.24 | 1 | 0 | 0.24
suspended steel channel system | 0.1 | 1 | 0 | 0.1
Window, glass, frame and sash | 0.38 | 1 | 0 | 0.38
(Add more if necessary) |  |  | press TAB on this cell to add row
NOTE!!!
IF THICKNESS IS SPECIFIED, FORMULA IN CELL IS CHANGED.
IN CASE ALL FORMULAS ARE DELETED, COPY THIS FORMULA AND CHANGE ITS within_text command to the cell address of component
=IF(ISNUMBER(SEARCH("per mm",[cell address of component])),"specify thickness ",1)

## LL-->
LIVE LOADS
floor live load | KPa | add as floor load
roof live load | KN/m | add as member load

## floor LL
MINIMUM UNIFORM LIVE LOADS (table 205-1)
CATEGORY | DESCRIPTION | UNIFORM LOAD(KPa) | Note: If slab is not enclosed with beams in 4 corners, staad wouldn’t be able to add it to group. Hence, live load can not be added as floor load. It is permitted to convert the pressure load into a member load by multiplying it to its tributary width
1. access floor systems | office use | 2.4
| computer use | 4.8
2. armories | -- | 7.2
3. theaters, assembly areas, and auditoriums | fixed seats | 2.9
| movable seats | 4.8
| lobbies and platforms | 4.8
| stage areas | 7.2
4. bowling alley, poolrooms, and similar reacreational areas | -- | 3.6
5. catwalk for maintenance access | -- | 1.9
6. cornices and marquees | -- | 3.6
7. dining rooms and restaurants | -- | 4.8
8. exit facilities | -- | 4.8
9. parking garages and ramps | general storage and/or repair | 4.8
| public parking and ramps | 4.8
| private (residential) or pleasure-type motor vehicle storage | 2.4
10. hospitals | wards and rooms | 1.9
| laboratories and operating rooms | 2.9
| corridors above ground floor | 3.8
11. libraries | reading rooms | 2.9
| stack rooms | 7.2
| corridors above ground floor | 3.9
12. manufacturing | light | 6
| heavy | 12
| building corridors above ground floor | 3.8
13. office | call centers and business processing offices | 2.9
| lobbies and ground floor corridoes | 4.8
| other offices | 2.4
14. printing plants | press rooms | 7.2
| composing and linotype rooms | 4.8
15. residential | basic floor area | 1.9
| exterior balconies | 2.9
| decks | 1.9
| storage | 1.9
16. restrooms | -- | --
17. reviewing stands, grandstands, bleachers, and folding and telescoping seating | -- | 4.8
18. roof decks | same as served or occupancy | --
19. schools | classrooms | 1.9
| corridors above ground flor | 3.8
| ground sloor corridors | 4.8
20. sidewalks and driveways | public access | 12
21. storage | light | 6
| heavy | 12
22. stores | retail | 4.8
| wholesale | 6
23. pedestrian bridges and walkways | -- | 4.8

## roof LL
MINIMUM ROOF LIVE LOADS (table 205-3)
ROOF SLOPE | TRIBUTARY AREA (m^2) |  |  |  | Note:
| 0-20 | 20-60 | over 60 |  | Roof live load is the mass (kg) of moving person on roof multiplied by 0.01 over tributary width (m) (Ginez, 2022).
UNIFORM LOAD (kPa)
1. flat or rise less than 1-unit in 3-unit horizontal (slope below 33.3%). Arch and dome with rise less than 1/8 of span. | 1 | 0.75 | 0.6 | below 33.3%
2. rise 1-unit vertical to less than 3-unit vertical in 3-unit horizontal (slope 33.3% - below 100%). Arch and dome with rise 1/8 of span to less than 3/8 of span. | 0.72 | 0.7 | 0.6 | 33.3% - below 100%
3. rise 1-unit vertical in 1-unit horizontal and greater (slope 100% and greater). Atch or dome with rise 3/8 of span or greater. | 0.6 | 0.6 | 0.6 | 100% and greater
4. awnings except cloth covered. | 0.25 | 0.25 | 0.25
5. greenhouses, lath houses and agricultural buildings. | 0.5 | 0.5 | 0.5
I. NSCP 2015 METHOD
slope | below 33.3%
span length of truss/purlin | 5 | m
spacing to the left | 5 | m
spacing to the right | 3 | m
tributary area | 20 | m | 0-20
pressure load from table | 1 | kPa
INPUT TO STAAD, ROOF LIVE LOAD = | 0.125 | KN/m
II. Ginez, 2022 METHOD
mass | 60
spacing to the left | 3.75
spacing to the right | 3.75
INPUT TO STAAD, ROOF LIVE LOAD = | 0.08 | KN/m

## WL-->
WIND LOADS (COMPOSURE & CLADDING)
NOTE!!!: | values must be: kzt = 1, exposure = B, I=1.0, kd = 1.0, mean roof height = 10m (max), otherwise wind load generator CAN NOT BE USED.
wind loads on frames can be automated with ASCE-7-2010. but it may also be neglected for low rise buildings (YT: *i forgot huhu*). Provided wind load generator is only applicable to composure and cladding (roof, truss, etc.)

## WL_B
WIND LOAD GENERATOR
I. ASSUMPTIONS
exposure | B
mean roof height | 10m (MAXIMUM)
I | 1
kzt | 1
II. INPUT VALUES
height of truss | 3.15 | m
length of truss | 9.5 | m
length of member being analysed | 9.5 | m
spacing of member to the left | 3 | m
spacing of member or purlin to the right | 3 | m
adjustment factor | 1 | m
basic wind speed | 250 | kph
III. PARAMETERS
tributary width | 3 | m
1/3 length | 3.1667 | m
effective width | 3.1667 | m
roof slope | 33.5507 | deg
effective wind area | 30.0833 | m^2
IV. WIND PRESSURE
zone | pnet9 (+kPa) | pnet9 (-kPa) | pnet (+kPa) | pnet (-kPa)
1 | 0.95 | 1.78 | 0.95 | 1.78
2 | 0.95 | 1.78 | 0.95 | 1.78
3 |  |  | 0 | 0
4 |  |  | 0 | 0
5 |  |  | 0 | 0
overhang |  | 4.19 | 0 | 4.19
V. RESULTS
zone | (INPUT IN STAAD as MEMBER LOAD) - DIRECT | (INPUT IN STAAD as MEMBER LOAD) - UPLIFT
1 | 2.85 | 5.34
2 | 2.85 | 5.34
3 | 0 | 0
4 | 0 | 0
5 | 0 | 0
overhang | 0 | 12.57
VI. LOAD APPLICATION
least horizontal dimension | 6 | m
mean roof height | 10 | m
minimum a
0.04LHD | 0.24 | m
0.9m | 0.9 | m
a
0.1LHD | 0.6 | m
0.4h | 4 | m
USE a = | 0.9 | m
USE 2a = | 1.8 | m
USE 4a = | 3.6 | m

## LOAD COMBINATION
LRFD | [5 empty] | Follow instructions of
| D | L | Lr | W | E | YT: John Paul Dela Rosa
1 | 1.4
2 | 1.2 | 1.6 | 1
3 | 1.2 | 1 | 1.6
4 | 1.2 | 1 | 0.5 | 1
5 | 1.2 | 1 |  |  | 1
6 | 0.9 |  |  | 1
7 | 0.9 |  |  |  | 1
8 | 1.2 |  | 1.6 | 0.5
ASD
1 | 1
2 | 1 | 1
3 | 1 |  | 1
4 | 1 | 0.75 | 0.75
5 | 1 |  |  |  | 0.71429
6 | 1 |  |  | 0.6
DRIFT | (H/238 | = | 0.0042017 | )
1 | 1.2 | 1 |  |  | 1
2 | 0.9 |  |  |  | 1
ACI 318 14
1 | 1.4
2 | 1.2 | 1.6
3 | 1.42 | 1 |  |  | 1.25
4 | 1.42 |  |  |  | 1.25
5 | 0.68 |  |  |  | 1.25
ALTERNATE BASIC LOAD COMBINATION
1 | 1 | 0.75 | 0.75 |  | 0.71429
2 | 0.6 | 0.6
3 | 0.6 | 0.71429
4 | 1 | 1
5 | 1 |  |  | 0.6
6 | 1 | 1 |  |  | 0.71429
7 | 1 | 0.75 | 0.75 | 0.6